___________________________________________________



















[image: image1.wmf][image: image2.wmf][image: image3.wmf]      
CITY OF PATTERSON
PLANNING COMMISSION MINUTES
November 18, 2021
__________________________________________________________________
The Planning Commission regular meeting of November 18, 2021, was called to order by
Chairperson West at 7:03 p.m.
SHOWN PRESENT: Chairperson West, Vice Chairperson Bendix, Commissioner Lopez. SHOWN VIA ZOOM: Commissioner Linares and Commissioner Anderson. Also present were Community Development Director James, City Planner Andrews, and IT Manager Ford. Planning Commission Secretary Ochoa (Via Zoom)
ROLL CALL:
Commissioner Linares, Commissioner Lopez, Vice Chairperson Bendix, Commissioner Anderson, Chairman West
ITEMS FROM PUBLIC:




None



STATEMENT OF CONFLICT BY COMMISSIONERS:
None
CORRESPONDENCE:




None
INFORMATIONAL ITEMS:




None
CONSENT ITEMS:





Motion to approve Planning Commission Meeting minutes of October 28, 2021: 



Vice Chairman Bendix
Second:

Commissioner Lopez
Motion passed:
3-0 Vote with 2 Abstentions

ROLL CALL:

Commissioner Linares, Commissioner Lopez, Vice Chairman Bendix, Commissioner Anderson, Chairman West  

Ayes:


Commissioner Lopez, Chairman West, Vice Chairman Bendix

Noes:


None

Abstained:

Commissioner Linares, Commissioner Anderson
Excused:

None
AGENDA ITEMS:


1.  Public Hearing:
Architectural & Site Plan Review #21-06, VOP 2.1, LLC, Lot 36, north 

of Olive Avenue and west of Sycamore Avenue, APN’s 047-025-036, 047-025-019, 047-025-069 (Continued from the October 28, 2021, Planning Commission Meeting)
A public hearing to consider an Architectural and Site Plan Review for a 53-unit rental housing project located within the Villages of Patterson (VOP) master plan area, known currently as the Lot 36 project.  
All units in the project would be market-rate, standalone three-bedroom dwellings.  The project site is 10.6 acres, located on the north side of Olive Avenue, approximately 500 feet west of Sycamore Avenue. The project would be a private, gated community with dwellings surrounding a common area of 1.07 acres.  The project also includes internal streets, 160 parking spaces, and other amenities.  The project is located within the Villages of Patterson Master Development Plan Area, for which the Villages of Patterson EIR was certified on December 12, 2006.  The land uses proposed were included and analyzed in the Villages of Patterson EIR.  The City has evaluated the project to determine whether the project is likely to result in new significant environmental impacts.  Based on that analysis, city staff is recommending that no additional environmental review is necessary.
City Planner Andrews gave the staff report
Commissioners discussed the project with staff
Open Public Hearing:

7:08 p.m.
1. Alen Malekian, Malekian & Associates
He is the project applicant and stated he agrees with all of the conditions of approval. He stated  they would prefer options A & B for roof types for this project, however, can incorporate Option C also if the Planning Commission prefers.
Close Public Hearing:

7:20 p.m.
Motion to approve Architectural & Site Plan Review #21-06, VOP 2.1, LLC, Lot 36, north 

of Olive Avenue and west of Sycamore Avenue, APN’s 047-025-036, 047-025-019, 047-025-069, to include all three (3) roof options A, B, & C (Continued from the October 28, 2021, Planning Commission Meeting)





Vice Chairman Bendix
Conditions of Approval

	1
	 The project shall comply with all applicable State and Municipal Codes, including the 2016 California Building Codes, the 2016 California Green Code, and the City's Multi-Agency Post-Construction Stormwater Standards and meet the requirements of the Public Works Department, City Engineer, Building Inspector, Community Development Department and Fire Chief.

	2
	The applicant shall comply with all conditions of approval and adopted mitigation measures.

	3
	Development shall occur in substantial conformance with the site plan and elevations as approved by the Planning Commission.

	4
	The applicant shall agree to defend at his/her sole expense any action brought against the City, its present or former agents, officers, or employees because of the issuance of said approval, or in anyway relating to the implementation thereof, or in the alternative, to relinquish such approval.  The applicant shall reimburse the City, its agents, officers, or employees, for any court costs and attorney's fee's which the City, its agents, officers or employees may be required by a court to pay as a result of such action.  The City may, at its sole discretion, participate at its own expense in the defense of any such action but such participation shall not relieve applicant of his/her obligations under this condition. 

	5
	That it shall be the applicant/successor in interest's responsibility and obligation to maintain all project related landscaping, both on site and within the right-of-way in a viable growth condition in perpetuity.  It shall not be acceptable to install landscaping in furtherance of an occupancy permit only to subsequently neglect and abandon the landscape elements.

	 
	Design Requirements

	6
	All planted areas shall be separated from driveways by concrete curbs.

	7
	Stop signs shall be provided at all project exits and internally as needed to ensure safety and consistent with the Traffic Impact Study findings.

	8
	All sight distances for all corners and driveways shall conform to the City's sight distance requirements to the satisfaction of the City Engineer

	9
	As applicable, streets, street medians, sidewalks, curbs, and gutters adjacent to the project shall be improved as necessary to provide safe vertical and horizontal transitions to connect improvements constructed within the project to existing improvements, as directed by the City Engineer. 

	10
	All on-site utilities shall be underground and all utility fixtures, transformers, switching boxes and other installations shall be screened from view.

	11
	Per Title 24, CBC Part 2, Volume 1, Chapter 11A and aaB, parking lots shall provide the required number and configuration of accessible parking spaces.

	12
	Improvements required for project frontage on Olive Avenue and Ashwood Lane shall include street paving, including the raised median, curb, gutter, streetlights, sidewalks, landscaping, the required utilities, grading and drainage.   Along the Olive Avenue ranchette frontage, the developer shall provide at a minimum, frontage improvements as allocated for the north side of Olive Avenue, per the Villages of Patterson Master Development Plan, including street, raised median, curb, and gutter.  If either or both of the owners of the ranchette lots agree to provide necessary right-of-way dedication, the developer shall be required to install complete street/right-of-way improvements as defined above for project frontage improvements.  To be considered for full improvements, the owners of the ranchette lots shall be contacted and given a minimum of one month, prior to street improvement plan submittal, to provide written concurrence for dedicating any necessary right-or-way to the City.

	13
	At the time of Public Improvement Plan review, plans shall be submitted to all applicable public utility companies for review.  Comments from the utilities regarding required easements, transformer locations, etc. shall be forwarded to Public Works Department for review and approval. 

	14
	All required public improvements shall be designed and constructed in accordance with the City of Patterson Standard Specifications and Drawings, including any standards updated prior to approval of the improvement plans.

	15
	All signage shall be submitted for a sign permit and shall be in accordance with relevant provisions of the Patterson Zoning Ordinance and sign program and that any proposed monument sign shall be constructed with design elements and materials reflective of those of the main building.

	16
	Setbacks shall be verified by a licensed surveyor.

	17
	All trash enclosures shall be constructed to comply with the latest Health Department and Storm Water regulations (located at least 50' from any storm drain inlet, have covers, have adequate secondary containment, etc.). Trash enclosures shall be sized to comply with commercial and organics recycling requirements and shall be designed by California licensed architects and engineers.  The applicant shall size the trash enclosure to the satisfaction of the Public Works Department.  All trash enclosure plans must be reviewed and approved by the City’s Planning Department.  

	18
	The project shall install 100 percent full trash capturing devices to comply with Stormwater Regulations and provide the City with a copy of the maintenance plan.  A maintenance agreement will be required, and devices must be adequately maintained, and business must sign up with the City’s FOG program to ensure maintenance. 

	19
	Interior vehicle travel ways shall be designed to be capable of withstanding loads imposed by trash and delivery trucks.

	20
	The project shall conform to the requirements of AB 936 and AB 1826 (Recycling).  

	21
	Plans for off-site public improvements and landscape plans must be submitted to the City Engineer for review and approval.  

	22
	Project shall comply with all Stormwater Pollution Prevention and Valley Air Pollution Control District regulations, including the City’s Post Construction/LID Standards and the Construction Activities Storm Water General Permit (2009-0009-DWQ Permit. 

	23
	That prior to building permit issuance, the applicant shall provide a planning for parking, including accessible facilities.  All end parking spaces adjacent to raised curbing shall be one foot wider than the normal stall width (10 feet total).

	24
	A 20' wide fire lane shall be maintained throughout the site.  An approved fire apparatus turn around shall be provided.  Fire lane and turn around shall be an all-weather surface.

	25
	If, the site grading area exceeds one acre or is part of a larger common plan of development, therefore the applicant must obtain a Construction Activities Storm Water General Permit.  In addition, a State's WDID number, SWPPP, and Storm Water Pollution Prevention Manager Information shall be required.

	26
	On-site and off-site storm water runoff shall be detained and metered into the storm drainage system to the satisfaction of the City Engineer.  

	27
	For new water service or existing water service, a Reduced Pressure Backflow prevention apparatus shall be installed per City Standards.

	28
	Street lighting shall be provided consistent with City standards.  Location and material shall be approved by the Public Works Department.  All new street lighting shall be LED.

	29
	A temporary sidewalk shall be provided connecting the project to Sycamore Avenue.

	30
	Moisture barrier shall be installed behind sidewalk.

	31
	Landscaping shall be provided along the frontage of the property.  Landscaping plan shall be subject to review and approval by the Public Works and Community Development Departments.

	32
	Project shall comply with all applicable stormwater regulations (Federal, State, and Local).  The applicant shall work with the City as it monitors the project during construction activities and perform adequate inspections as required by the City's MS4 Phase II Permit.  A deposit account shall be established by the developer/project owner to cover all SWPPP inspections conducted by the City.

	33
	All permanent basins shall be designed to meet the post-construction stormwater standards and AB 1881 requirements.  Storm drainage plans shall be engineered and/or developed by a Qualified Stormwater Designer (QSD).  Prior to dedicating any basin/storm drainage facility to the City, they must meet City Standards, stormwater regulations, be set-up with SCADA, and be included in the maintenance district to provide funding for on-going maintenance.  Any temporary basin shall have adequate Best Management Practices (BMPs) and shall be monitored and inspected by a QSP to ensure stormwater compliance.  The temporary basin shall have a monitoring gauge to monitor the levels as well as have an emergency contingency plan to address high levels during the heavy storm season.  Any discharge to the City's storm system is prohibited and requires the City's authorization and lab sampling to ensure water quality meets State requirements.  All costs associated with discharge/sampling are the responsibility of the developer/project owner.  A secured maintenance agreement shall be required to ensure that the basin is monitored, maintained, and completed to satisfy state, local, federal stormwater and FEMA regulations.

	34
	Street trees shall be required along street frontages; the type, size, and location shall be in accordance with the City's street tree list and/or Villages of Patterson Master Development Plan as approved by the Public Works and Planning Departments.  Street trees shall be installed per City Standards and a street tree deposit shall posted with the Public Works Department.

	35
	Fire apparatus access roads shall be in accordance with the 2016 California Fire Code Section 503 and Appendix D.

	36
	Fire protection water supplies shall be in accordance with the 2016 California Fire Code Section 507 and Appendix C.

	37
	Fire hydrants shall be located to the Fire Inspector's specifications.  Fire hydrants and fire hydrant flows shall meet all City of Patterson standards.

	38
	All facilities shall be connected to the City's municipal system for water, sewer, and storm and be signed up for services prior to operation.

	39
	The project shall connect to the non-potable water supply system for landscape irrigation and non-potable water services.

	40
	That all on-site water and sewer mains and fire hydrants shall be owned by the City.

	41
	The entry road to the site shall meet all City standards and requirements.

	42
	The developer shall provide a new point of ingress/egress for the two ranchette lots routed toward the new entry road.  This requirement shall not preclude the ranchette owners from continuing to ingress and egress from Olive Avenue, if they so desire.  

	43
	Design of all common areas shall be subject to review and approval by the Community Development, Engineering, Public Works, and Fire Departments.

	44
	Design of all walls, fences, and/or gates shall be subject to review and approval by the Community Development and Engineering Departments.  A wall around the border of the project site shall be 6.5 feet in height.

	 
	Prior to Grading

	45
	Any abandoned wells on the project site shall be destroyed in accordance with requirements of the Stanislaus County Environmental Health Division prior to issuance of any grading permit or other site improvements.  All abandoned/destroyed wells shall be clearly shown on the improvement plans for the project.  A well destruction permit shall be obtained from the Public Works Department prior to starting the work and inspections/confirmation of well destruction shall be confirmed by the Public Works Department.

	46
	Prior to the approval of grading and public improvement plans, the applicant shall establish a deposit account for plan check and inspection costs, post bonds as appropriate and obtain an encroachment permit as required.

	47
	Complete grading and drainage plans shall be submitted to and approved by the City Engineer.

	48
	At the time of grading/improvement plan submittal, the applicant shall deposit with the City, at time of plan check submittal, adequate funds to employ a qualified independent engineering consultant selected by the City to review grading and drainage improvement plans and to inspect the site prior to and during all major site preparation and grading.  A qualified Soils Engineer shall submit tests and reports to certify each parcel as ready for construction prior to starting foundations.

	49
	Where the difference in average elevations between adjacent lots is in excess of six inches, slope shall not exceed 2 to 1 grade or a grade found reasonable in the soils report, or a retaining wall shall be required. 

	50
	Prior to any site grading or construction, an Erosion Sediment Control Plan and stormwater treatment control measures shall be submitted to and approved by the Public Works Department.  Said plan and program shall address specific temporary and permanent erosion control measures associated with the project. 

	51
	It is the contractor’s responsibility to use watering, dust fences, or other methods as directed by the City, to control dust throughout the construction operation. The applicant shall use all reasonable efforts to obtain non-potable water for construction and/or dust control purposes.  This condition shall not be interpreted as prohibiting the use of City water supplies for the irrigation of landscaping required in common areas.  A fire hydrant use permit shall be obtained from the Public Works Department prior to commencement of grading activities.

	52
	All grading and construction debris materials shall be removed and disposed of, per the project's approved Solid Waste Management Plan, per the City's Construction and Demolition Ordinance.  All material must be disposed of property and to an approved/certified facility.  

	53
	The applicant or his/her agents or employees shall be responsible for removal and clean-up of any spill on public streets during his/her entire grading operations.

	54
	Lots shall drain in such a manner that there will be no undrained depressions.  The design of all such drains shall be subject to the review and approval of the City Engineer.

	55
	An engineering cost estimate shall be submitted with the grading and improvement plans for public improvements.  The applicant's engineer shall sign and stamp the calculation and cost estimates prior to issuance of building permits.

	56
	Prior to issuance of the grading permit, final right-of-way width and routes for drainage channels, pipelines, and service roads needed shall be established.

	57
	Measures to control erosion during construction shall be incorporated into the grading plans and shall be subject to review and approval by the City Engineer.

	58
	Prior to issuance of a grading permit, the applicant shall submit a soils report, prepared by a registered geologist or qualified civil engineer, concerning soil conditions for grading, excavations, slope stabilization and revegetation, and footing and foundation construction.

	59
	The applicant shall obtain a grading permit for on-site excavation and fill prior to construction.

	60
	Prior to concrete pour inspection, compaction tests are required for all footings, including community theme wall footings.

	61
	The project shall obtain an Industrial Stormwater Permit under the State Water Board and Regional Water Quality Control Board general permit, if applicable. 

	62
	The project shall submit copies of the project's SWPPP, WDID number, and dust permit and install all stormwater temporary construction BMPs prior to any soil disturbance activities, per the approved SWPPP and undergo an inspection by the City.

	
	Construction Phase

	63
	Construction shall be limited to between the hours of 7:00 a.m. and 6:00 p.m. on non-holiday weekdays, and on Saturdays to between the hours 8:00 a.m. and 6:00 p.m.; that additional hours may be permitted at the discretion of the Engineering Director.  Construction activities may be allowed at any time on the interior of buildings once they are entirely enclosed, in conformance with the City’s noise ordinance. 

	64
	The applicant shall be responsible during construction for cleaning city streets, curbs, gutters and sidewalks of dirt tracked from the subject site.  The flushing of dirt and debris to storm drain or sanitary sewer facilities shall not be permitted.  The cleaning shall be done after each day's work or as directed by the Director of Public Works or the Planning Department.

	65
	All water, gas, sewer, underground electrical power, cable TV, telephone lines, conduits, or underground drain lines shall be installed before any paving is placed.

	66
	Prior to issuance of a building permit, an exterior lighting plan and site lighting footcandle plan shall be prepared subject to the review and approval of the Community Development Department.  Lighting shall meet City standards, including mounting, aiming, and shielding light fixtures to prevent glare, light trespass, and light pollution.

	67
	For landscape and irrigation within the public ROW, a deposit shall be required to cover the installation of irrigation, landscaping, and plant materials (relocation) based upon the estimate of costs to be paid for and provided by the applicant. Project landscape plans must comply with AB1881 (Water Use Efficiency) requirements. Once the landscaping is complete an audit must be completed, and the certificate sent into the City.

	68
	Prior to building permit issuance, the applicant shall submit to the City for review and approval a grading and drainage plan in compliance with all applicable regulations of the City of Patterson.

	69
	The applicant shall annex into all applicable Community Facilities Districts (CFDs) and/or Maintenance Districts that the City has in place for providing services to the site and/or on-going maintenance of any improvements that the City will take over (CFD 2013-01, Landscape Maintenance Districts (LMDs) Benefit Assessment Districts (BADs), County Service Area (CSA) and pay for all costs associated with this item.

	70
	The applicant shall submit a mitigation plan for review and approval by the City and the San Joaquin Valley Air Pollution Control District (SJVAPCD) for construction-related emissions prior to construction. Such a plan shall include provisions for compliance with District Rule VIII and shall include at least the following requirements:
a. All disturbed areas, including storage piles, which are not being actively utilized for construction purposes, shall be effectively stabilized of dust emissions using water, chemical stabilizer/suppressant, or vegetative ground cover. 
b. All on-site unpaved roads and off-site unpaved access roads shall be effectively stabilized for dust emissions using water or chemical stabilizer/suppressant.
 c. All land clearing, grubbing, scraping, excavation, land leveling, grading, cut & fill, and demolition activities shall be effectively controlled of fugitive dust emissions utilizing application of water or by presoaking.
 d. With the demolition of buildings up to six stories in height, all exterior surfaces of the building shall be wetted during demolition.
 e. When materials are transported off-site, all material shall be covered, effectively wetted to limit visible dust emissions, or at least six inches of freeboard space from the top of the container shall be maintained.
 f. All operations shall limit or expeditiously remove the accumulation of mud or dirt from adjacent public streets if and as needed when operations are occurring. (The use of dry rotary brushes is expressly prohibited except where preceded or accompanied by sufficient wetting to limit the visible dust emissions.) (Use of blower devices is expressly forbidden.) 
 g. Following the addition of materials to, or the removal of materials from, the surface of outdoor storage piles, said piles shall be effectively stabilized of fugitive dust emissions utilizing sufficient water or chemical stabilizer/suppressant. 
h. Limit traffic speeds on unpaved roads to 15 mph;and      i.Install sandbags or other erosion control measures to prevent silt runoff to public roadways from sites with a slope greater than one percent.

	71
	Public records are to be researched for the location of all possible survey monuments within the scope of the project and report shall be furnished to City Engineer and County Surveyor. 

	72
	Prior to issuance of a building permit, the applicant shall submit a Final Landscape and Irrigation Plan in compliance with AB 1881.  The City of Patterson Post-Construction Stormwater Standards Manual shall be followed for guidance.  The landscaping plan shall be consistent with City Standards and shall include at least two of the following low impact development methods:
• bioretention 
• cisterns and rain barrels 
• green roofs
• roof leader disconnection 
• permeable and porous paving (must be no less than 20% of walking or patio surface per Section 18.78.040) 
• vegetated swales and filter strips 
• volume retention

	73
	Prior to issuance of a building permit, sufficient water pressure and capacity to serve the project area shall be assured.  Water mains shall be installed on-site to provide adequate flow and reliability as required by the Public Works Director, City Engineer, and Fire Chief.

	74
	Design of the proposed project facilities shall include provisions to minimize water requirements, including the use of the following, to the extent deemed practical by the City:                                                                                                                         a. Use of low-flow fixtures, including shower heads and toilets as per the Uniform Building Code and SB 407.
b. Use of drought-tolerant, native landscaping, per AB 1881.

	75
	Separate water meters shall be installed for landscaping and domestic indoor water services.  Water meters shall be purchased from the Public Works Department and installed per City Standards.

	76
	The project shall comply with City of Patterson Best Management Practices as defined in the City’s latest Urban Water Management Plan, California Urban Water Conservation Council BMPs, AB 1881, and mandatory water conservation measures defined in the State of California Green Building Code.

	77
	Future drainage system discharges shall comply with applicable state, federal pollutant discharge requirements, including the California National Pollutant Discharge Elimination System requirements.

	78
	Adequate storm interceptor, grease interceptor, sewer pre-treatment, stormwater control measures/LID, or other devices shall be designed by a California licensed architect and engineer and must comply with all local, state, and federal requirements and satisfy the City Engineer and Public Works Director.  The project owner shall be required to enter into a maintenance agreement with the City and to enroll in the City's on-going maintenance program. 

	79
	A Stormwater Pollution Prevention Plan (SWPPP) shall be completed and submitted to the City prior to any construction activities and must address grading, drainage, erosion control, and Post Construction Best Management Practices (BMPs).  In compliance with the City’s Post-Construction Stormwater Standards Manual, an Operations and Maintenance Plan also must be submitted. A SWPPP Inspection Deposit must be posted with the City to cover all SWPPP Inspections for the duration of the project.  

	80
	If using truncated domes, City prefers "Set in Place" domes.

	81
	The project shall participate in a Maintenance Community Facility District to assist in payment of public improvements and/or any additional Infrastructure Community Facility District that are within the project's boundaries.

	82
	If the property is within a Special Flood Hazard Area, applicant shall obtain a floodplain development permit and build according to floodplain standards.

	83
	All pre-existing sewer laterals and storm drain lines shall be video inspected to ensure that the lines are clear of any debris and that they are not damaged.

	84
	All landscaping in the Public Right-of-Way shall be subject to review and approval by the Public Works and Community Development Department, shall comply with AB 1881 requirements and shall be subject to a 90-day maintenance period.  The project shall be required to participate in a maintenance CFD for the on-going maintenance of the landscaping installed within the public right-of-way.

	85
	All pre-existing public improvements adjacent to the project area shall meet the ADA standards.

	86
	Sprinkler plans, if necessary, shall be submitted prior to construction materials being brought on site.

	87
	Bicycle racks to accommodate two bicycles shall be designed and installed in accordance with City Standards for the common area, with placement to be approved by the Community Development Department.


Prior to Certificate of Occupancy
	88
	Prior to issuance of a certificate of occupancy for each building, all ducts, meters, air conditioning equipment and all other mechanical equipment, whether on the ground, on the structure or elsewhere, shall be screened from public view with materials architecturally compatible with the main structure.  This includes gas and electric meters, electric transformers, and large water piping systems to be completely screened from a standard public viewing height of 6 feet.  All roof-mounted equipment which generates noise, solid particles, odors, etcetera, shall cause the objectionable material or effects to be directed away or shielded from adjoining land designated for residential development. A plan for the treatment of roof top equipment shall be submitted to the Planning Department prior to issuance of a building permit. 

	89
	Any street, alley, sidewalk, curb, or gutter, damaged by the applicant or its agents or employees shall be repaired, prior to final acceptance of tract improvements by the City Council, or sooner, at the discretion of the City Engineer.

	90
	Prior to issuance of a certificate of occupancy, mail receptacles shall be provided as required by the Postmaster of the City of Patterson.

	91
	Landscape and Stormwater Control Measures Maintenance and Access Agreement shall be required to ensure the on-going maintenance of the private landscape and stormwater control measures installed onsite.  

	92
	Each unit shall be individually metered and signed up for utility services.  

	93
	Project shall be required to stabilize the project for stormwater compliance and work with the City to perform a Final Stormwater inspection and acquire a Notice of Termination for the project.  All construction/temporary BMPs must be removed, and all post-construction BMPs/stormwater treatment controls be in place and properly inspected.

	94
	The project shall complete the formation and/or annexation process (Unanimous Approval form) for participation in the City's Community Facilities Districts for maintenance, infrastructure, and public safety, and obtain formal clearance from the City's Finance Director prior to received the Certificate of Occupancy.  The applicant shall pay for all costs associated with this process, including and not limited to consultant fees, attorney fees, bond counsel fees, and City administration fees.

	95
	Final inspection of the sewer and storm drain system shall be by televised inspection device as approved by the City Engineer at applicant’s expense.

	96
	The main entrance shall have a Knox key switch to operate the electric gate. 

	97
	Secondary emergency access off of Ashwood Lane shall be all-weather hard surfaced (suitable for use by fire apparatus) right-of-way not less than 20 feet in width.  Such right-of-way shall be unobstructed and maintained only as access to the public street per section 503 of the 2019 CA Fire Code.  The secondary emergency access shall have a Knox padlock, or a Knox Key Box installed near the access gate.  

	98
	Building(s) shall be properly addressed with numerals at least six inches tall, contrasting with background, illuminated between dusk and dawn daily and be clearly visible from the street.  Larger numbers, suite and rear door identification, etc. may be required to facilitate emergency response.

	99
	Fire extinguishers shall be required for shop and office building per CA fire code section 906.

	100
	All fire lanes must be posted and enforced, per Police and Fire Department Guidelines and shall comply with section 503 of the 2019 CA Fire Code.


Second:

Commissioner Lopez
Motion passed:
4-0 Vote
ROLL CALL:

Commissioner Linares, Commissioner Lopez, Vice Chairman Bendix, Commissioner 




Anderson, Chairman West 
Ayes:


Commissioner Lopez, Vice Chairman Bendix, Commissioner Anderson,


Chairman West
Noes:


Commissioner Linares
Abstained:

None

Excused:

None
2. Public Hearing:
Architectural & Site Plan Review #21-07, Conditional Use Permit #21-
07, Popeyes Chicken, APN #021-094-003
Review of an Architectural and Site Plan Review and Conditional Use Permit for the construction of a 2,303 square foot building located north of Sperry Avenue, approximately 500 feet east of Park Center Drive, also known as APN 021-094-003, a 0.52 acre lot.  The project considers a Popeye’s Chicken restaurant with approximately 40 seats and a side by side drive thru.  The site plan also includes parking, landscaping, and other appurtenances. The restaurant’s hours of operation are proposed from 6 AM to midnight, seven days a week.  The use is consistent with the West Patterson Industrial Business Park Zone, where the lot is located, subject to a conditional use permit. 
City Planner Andrews gave the staff report
Commissioners discussed the project with staff
Open Public Hearing:
7:25 p.m.                 
1. Sunny Ghai, Ghai Management Services
He is the developer for this project and agrees with all of the conditions of approval. He discussed many new options for pick up that will help with new regulations regarding COVID.

2. Charlie Brown, C.C. Planning & Permitting Services
He is the applicant of the project and he agrees with all of the conditions of approval. 
Motion to approve Architectural & Site Plan Review #21-07, Conditional Use Permit #21-07, Popeyes Chicken, APN #021-094-003






Vice Chairman Bendiz
Conditions of Approval

Ongoing
	1
	 The project shall comply with all applicable State and Municipal Codes, including the most recently adopted California Building Codes and the California Green Code and meet the requirements of the Public Works Department, City Engineer, Building Inspector, Community Development Department and Fire Chief.

	2
	The applicant shall comply with all conditions of approval and adopted mitigation measures.

	3
	Development shall occur in substantial conformance with the site plan and elevations as approved by the Planning Commission.

	4
	The applicant shall agree to defend at his/her sole expense any action brought against the City, its present or former agents, officers, or employees because of the issuance of said approval, or in any way relating to the implementation thereof, or in the alternative, to relinquish such approval.  The applicant shall reimburse the City, its agents, officers, or employees, for any court costs and attorney's fee's which the City, its agents, officers or employees may be required by a court to pay as a result of such action.  The City may, at its sole discretion, participate at its own expense in the defense of any such action but such participation shall not relieve applicant of his/her obligations under this condition. 

	5
	That it shall be the applicant/successor in interest's responsibility and obligation to maintain all project related landscaping, both on site and within the right-of-way in a viable growth condition in perpetuity.  It shall not be acceptable to install landscaping in furtherance of an occupancy permit only to subsequently neglect and abandon the landscape elements.

	6
	That the mitigation measures outlined in the West Patterson Projects Environmental Impact Report, as applicable, are hereby incorporated, by reference, as mitigation measures for this project.

	 
	Design Requirements

	7
	All planted areas shall be separated from driveways by concrete curbs.

	8
	Stop signs with stop bar and legend shall be provided as needed to ensure safety and consistent with the Traffic Impact Study findings.

	9
	All sight distances for all corners and driveways shall conform to the City's sight distance requirements to the satisfaction of the City Engineer.

	10
	As applicable, streets, alleys, sidewalks, curbs, and gutters adjacent to the project shall be improved as necessary to provide safe vertical and horizontal transitions to connect improvements constructed within the project to existing improvements, as directed by the City Engineer.

	11
	All on-site utilities shall be underground and all utility fixtures, transformers, switching boxes and other installations shall be screened from view.

	12
	Per Title 24, CBC Section 11B-208, parking lots shall provide the required number and configuration of accessible parking spaces.

	13
	That trees shall be provided in the parking area consistent with the requirements of the City's Municipal Code.

	14
	Frontage improvements shall be installed including sidewalk, curb, gutter, and commercial driveways streetlights, landscaping, and required utilities, grading and drainage.  Pavement, sidewalk and driveway approach improvements shall require compaction tests per City Standards.

	15
	At the time of Public Improvement Plan review, plans shall be submitted to all applicable public utility companies for review.  Comments from the utilities regarding required easements, transformer locations, etc. shall be forwarded to Public Works Department for review and approval. 

	16
	All required public improvements shall be designed and constructed in accordance with the City of Patterson Standard Specifications and Drawings, including any standards updated prior to approval of the improvement plans.

	17
	All signage shall be submitted for a sign permit and shall be in accordance with relevant provisions of the Patterson Zoning Ordinance and sign program and that any proposed monument sign shall be constructed with design elements and materials reflective of those of the main building.

	18
	Setbacks shall be verified by a licensed surveyor.

	19
	Project shall be designed to meet LID standards.  The City of Patterson Post-Construction Stormwater Standards Manual shall be followed for guidance AND full trash capture devices shall be installed.

	20
	All trash enclosures shall be constructed to comply with the latest Health Department and Storm Water regulations (located at least 50' from any storm drain inlet, have covers, have adequate secondary containment, etc.). Trash enclosures shall be sized to comply with commercial and organics recycling requirements.  The project shall install 100 percent full trash capturing devices to comply with Stormwater Regulations and provide the City with a copy of the maintenance plan.  A maintenance agreement will be required, and devices must be adequately maintained, and business must sign up with the City’s FOG program to ensure maintenance. The trash enclosure design shall use colors and materials consistent with the building and meet minimum City standards.  All trash enclosure plans shall be reviewed and approved by the City’s Planning Department.  

	21
	Interior vehicle travel ways shall be designed to be capable of withstanding loads imposed by trash and delivery trucks.

	22
	The project shall conform to the requirements of AB 939 and AB 1826 (Recycling).  Commercial projects shall submit a Construction Waste Management Plan for the City's review/approval.  All businesses generating four cubic yards of waste or more, per week, must comply with AB 939 Commercial Recycling requirements.

	23
	Plans for off-site public improvements and landscape plans must be submitted to the City Engineer for review and approval.  

	24
	Project shall comply with all Stormwater Pollution Prevention and Valley Air Pollution Control District regulations, including the City’s Post Construction/LID Standards and the Construction Activities Storm Water General Permit. 

	25
	All end parking spaces adjacent to raised curbing shall be one foot wider than the normal stall width (10 feet total).

	26
	If, the site grading area exceeds one acre or is part of a larger common plan of development, therefore the applicant must obtain a Construction Activities Storm Water General Permit.  In addition, a State's WDID number, SWPPP, and Storm Water Pollution Prevention Manager Information shall be required.

	27
	On-site and off-site storm water runoff shall be detained and metered into the storm drainage system to the satisfaction of the City Engineer.  

	28
	For new water service or existing water service, a Reduced Pressure Backflow prevention apparatus shall be installed per City Standards.

	29
	Street lighting shall be provided consistent with City standards.  Location and material shall be approved by the Public Works Department.  All new street lighting shall be LED.

	30
	Street trees shall be installed along public rights of way to City standards.  Phoenix Dactylifera "Date Palm" Trees shall be used as the street tree along Sperry Avenue.

	31
	Moisture barrier shall be installed behind sidewalk and medians.

	32
	Landscaping shall be provided along the frontage of the property.  Landscaping plan shall be subject to review and approval by the Public Works and Community Development Departments.

	33
	Project shall comply with all applicable stormwater regulations (Federal, State, and Local).  The applicant shall work with the City as it monitors the project during construction activities and perform adequate inspections as required by the City's MS4 Phase II Permit.  A deposit account shall be established by the developer/project owner to cover all SWPPP inspections conducted by the City.

	34
	That storm drainage infrastructure shall be designed to meet the post-construction stormwater standards and AB 1881 requirements.  Storm drainage plans shall be engineered and/or developed by a Qualified Stormwater Designer (QSD).  Prior to dedicating any basin/storm drainage facility to the City, they shall meet City Standards, stormwater regulations, be set-up with SCADA, and be included in the maintenance district to provide funding for on-going maintenance.  Any temporary basin shall have adequate Best Management Practices (BMPs) and shall be monitored and inspected by a QSP to ensure stormwater compliance.  The temporary basin shall have a monitoring gauge to monitor the levels as well as have an emergency contingency plan to address high levels during the heavy storm season.  Any discharge to the City's storm system is prohibited and requires the City's authorization and lab sampling to ensure water quality meets State requirements.  All costs associated with discharge/sampling are the responsibility of the developer/project owner.  A secured maintenance agreement shall be required to ensure that the basin is monitored, maintained, and completed to satisfy state, local, federal stormwater and FEMA regulations.

	35
	All facilities shall be connected to the City's municipal system for water, sewer, and storm and be signed up for services prior to operation.

	36
	Water, sewer and storm calculations shall be provided for review during plan submittal.

	37
	All water meters shall be placed 1-foot behind the sidewalk with reduced pressure backflows.  Backflow prevention devices shall be as close as possible to the water meter box.

	38
	Landscaping and water service shall include reduced pressure back flow prevention devices.

	39
	All on-site water lines and fire hydrants shall be private.

	40
	All non-potable water valves shall be Christy G-4 with triangular lid purple in color or approved equal.

	41
	Non-potable water main and appurtenances shall be installed as required by the City for demands that are compatible with non-potable water, including, but not limited to landscape irrigation and vehicle washing.  Non-potable water system and installation shall be in accordance with the latest version of the City's non-potable water standards or guidelines, including pipe color, signage, cross connection control program, etc.  Connection to the non-potable water system shall be required when it becomes available. Connection shall be made by the owner at no expense to the City.  City engineer may ask the owner to pay their fair share in lieu of installation of the non-potable system.

	42
	That the path of travel over the drive aisle shall be stamped concrete/asphalt of a contrasting color to increase safety of the crosswalk, or another similar design.  That the path of travel between the parking spaces shall be raised above the surrounding parking.

	43
	Screening/barrier between the drive thru lane and Flying J shall be subject to review and approval by the Planning Department and other City departments, as appropriate.


Prior to Grading

	44
	Any abandoned wells on the project site shall be destroyed in accordance with requirements of the Stanislaus County Environmental Health Division prior to issuance of any grading permit or other site improvements.  All abandoned/destroyed wells shall be clearly shown on the improvement plans for the project.  A well destruction permit shall be required by Public Works prior to starting the work and inspections/confirmation of well destruction shall be confirmed by the Public Works Department.

	45
	Prior to the approval of grading and public improvement plans, the applicant shall establish a deposit account for plan check and inspection costs, post bonds as appropriate and obtain an encroachment permit as required.

	46
	Complete grading and drainage plans shall be submitted to and approved by the City Engineer.

	47
	At the time of grading/improvement plan submittal, the applicant shall deposit with the City, at time of plan check submittal, adequate funds to employ a qualified independent engineering consultant selected by the City to review grading and drainage improvement plans and to inspect the site prior to and during all major site preparation and grading.  A qualified Soils Engineer shall submit tests and reports to certify each parcel as ready for construction prior to starting foundations.

	48
	Where the difference in average elevations between adjacent lots is in excess of six inches, slope shall not exceed 2 to 1 grade or a grade found reasonable in the soils report, or a retaining wall shall be required. 

	49
	Prior to any site grading or construction, an erosion control plan and program shall be submitted to and approved by the Public Works Department.  Said plan and program shall address specific temporary and permanent erosion control measures associated with the project. 

	50
	It is the contractor’s responsibility to use watering, dust fences, soil binders, or other methods as directed by the City, to control dust throughout the construction operation. The applicant shall use all reasonable efforts to obtain non-potable water for construction or dust control purposes.  This condition shall not be interpreted as prohibiting the use of City potable water supplies for the irrigation of landscaping required in common areas.

	51
	All grading construction debris materials shall be removed and disposed into an approved dump site prior to any excavation or fill operations and/or as specified by the Solid Waste Management Plan and/or directed by Public Works.  All grading activities must comply with all stormwater regulations including stabilization of any soil disturbed area.  All excess dirt must be leveled and/or disposed of correctly and may not be taken to a facility that is not listed in the SWPPP of Solid Waste Management Plan and/or approved by the City.

	52
	The applicant or his/her agents or employees shall be responsible for removal and clean-up of any spill on public streets during his/her entire grading operations.

	53
	Lots shall drain in such a manner that there will be no undrained depressions.  The design of all such drains shall be subject to the review and approval of the City Engineer.

	54
	An engineering cost estimate shall be submitted with the grading and improvement plans for public improvements.  The applicant's engineer shall sign and stamp the calculation and cost estimates prior to issuance of building permits.

	55
	Prior to issuance of the grading permit, final right-of-way width and routes for drainage channels, pipelines, and service roads needed shall be established.

	56
	Measures to control erosion during construction shall be incorporated into the grading plans and shall be subject to review and approval by the City Engineer and property maintenance throughout the grading process.

	57
	Prior to issuance of a grading permit, the applicant shall submit a soils report, prepared by a registered geologist or qualified civil engineer, concerning soil conditions for grading, excavations, slope stabilization and revegetation, and footing and foundation construction.

	58
	The applicant shall obtain a grading permit for on-site excavation and fill prior to construction.

	59
	Prior to concrete pour inspection, compaction tests are required for all footings.

	60
	The project shall obtain an Industrial Stormwater Permit under the State Water Board and Regional Water Quality Control Board general permit, if applicable. 


Construction Phase

	61
	Construction shall be limited to between the hours of 7:00 a.m. and 6:00 p.m. on non-holiday weekdays, and on Saturdays to between the hours 8:00 a.m. and 6:00 p.m.; that additional hours may be permitted at the discretion of the Public Works Director.  Construction activities may be allowed at any time on the interior of buildings once they are entirely enclosed, in conformance with the City’s noise ordinance.  

	62
	The applicant shall be responsible during construction for cleaning city streets, curbs, gutters and sidewalks of dirt tracked from the subject site.  The flushing of dirt and debris to storm drain or sanitary sewer facilities shall not be permitted.  The cleaning shall be done after each day's work or as directed by the Director of Public Works or the Planning Department.

	63
	All water, gas, sewer, underground electrical power, cable TV, telephone lines, conduits, or underground drain lines shall be installed before any paving is placed.


Prior to Building Permit Issuance

	64
	Lighting shall meet City standards, including mounting, aiming, and shielding light fixtures to prevent glare, light trespass, and light pollution.

	65
	For landscape and irrigation within the public ROW, a deposit shall be required to cover the installation of irrigation, landscaping, and plant materials (relocation) based upon the estimate of costs to be paid for and provided by the applicant. Project landscape plans must comply with AB1881 (Water Use Efficiency) requirements. Once the landscaping is complete an audit must be completed, and the certificate sent into the City.

	66
	Prior to building permit issuance, the applicant shall submit to the City for review and approval a grading and drainage plan in compliance with all applicable regulations of the City of Patterson.

	67
	The applicant shall annex into all applicable Community Facilities Districts (CFDs) and/or Maintenance Districts that the City has in place for providing services to the site and/or on-going maintenance of any improvements that the City will take over (CFD 2013-01, Landscape Maintenance Districts (LMDs) Benefit Assessment Districts (BADs), County Service Area (CSA) and pay for all costs associated with this item.

	68
	The applicant shall submit a mitigation monitoring plan for review and approval by the City and the San Joaquin Valley Air Pollution Control District (SJVAPCD) for construction-related emissions prior to construction. Such a plan shall include provisions for compliance with District Rule VIII and shall include at least the following requirements:
a. All disturbed areas, including storage piles, which are not being actively utilized for construction purposes, shall be effectively stabilized of dust emissions using water, chemical stabilizer/suppressant, or vegetative ground cover. 
b. All on-site unpaved roads and off-site unpaved access roads shall be effectively stabilized of dust emissions using water or chemical stabilizer/suppressant.
 c. All land clearing, grubbing, scraping, excavation, land leveling, grading, cut & fill, and demolition activities shall be effectively controlled of fugitive dust emissions utilizing application of water or by presoaking.
 d. With the demolition of buildings up to six stories in height, all exterior surfaces of the building shall be wetted during demolition.
 e. When materials are transported off-site, all material shall be covered, effectively wetted to limit visible dust emissions, or at least six inches of freeboard space from the top of the container shall be maintained.
 f. All operations shall limit or expeditiously remove the accumulation of mud or dirt from adjacent public streets if and as needed when operations are occurring. (The use of dry rotary brushes is expressly prohibited except where preceded or accompanied by sufficient wetting to limit the visible dust emissions.) (Use of blower devices is expressly forbidden.) 
 g. Following the addition of materials to, or the removal of materials from, the surface of outdoor storage piles, said piles shall be effectively stabilized of fugitive dust emissions utilizing sufficient water or chemical stabilizer/suppressant. 

	 
	h. Limit traffic speeds on unpaved roads to 15 mph; and                                                i. Install sandbags or other erosion control measures to prevent silt runoff to public roadways from sites with a slope greater than one percent.

	69
	Public records are to be researched for the location of all possible survey monuments within the scope of the project and report shall be furnished to City Engineer and County Surveyor. 

	70
	Prior to issuance of a building permit, the applicant shall submit a Final Landscape and Irrigation Plan in compliance with AB 1881.  The City of Patterson Post-Construction Stormwater Standards Manual shall be followed for guidance.  The landscaping plan shall be consistent with City Standards and shall include at least two of the following low impact development methods:
• bioretention 
• cisterns and rain barrels 
• green roofs
• roof leader disconnection 
• permeable and porous paving (must be no less than 20% of walking or patio surface per Section 18.78.040) 
• vegetative swell and filter strips 
• volume retention

	71
	Prior to issuance of a building permit, sufficient water pressure and capacity to serve the project area shall be assured.  Water mains shall be installed on-site to provide adequate flow and reliability as required by the Public Works Director, City Engineer, and Fire Chief.

	72
	Design of the proposed project facilities shall include provisions to minimize water requirements, including the use of the following, to the extent deemed practical by the City:                                                                                                                         a. Use of low-flow fixtures, including shower heads and toilets as per the Uniform Building Code.
b. Use of drought-tolerant, native landscaping.

	73
	Separate water meters shall be installed for landscaping and indoor water services.

	74
	The project shall comply with City of Patterson Best Management Practices as defined in the City’s latest Urban Water Management Plan, California Urban Water Conservation Council BMPs, AB 1881, and mandatory water conservation measures defined in the State of California Green Building Code.

	75
	Future drainage system discharges shall comply with applicable state and federal pollutant discharge requirements.

	76
	Appropriate storm and sewer interceptors shall be included to the satisfaction of the City Engineer and Public Works Director.  Use of a grease/oil interceptor shall be required and shall be located on private property on the sewer service lateral to the satisfaction of the Public Works Director and City Engineer.

	77
	A Stormwater Pollution Prevention Plan (SWPPP) shall be completed and submitted to the City prior to any construction activities and must address grading, drainage, erosion control, and Post Construction Best Management Practices (BMPs).  In compliance with the City’s Post-Construction Stormwater Standards Manual, an Operations and Maintenance Plan also must be submitted. A SWPPP Inspection Deposit must be posted with the City to cover all SWPPP Inspections for the duration of the project.  

	78
	If using truncated domes, City prefers "Set in Place" domes.

	79
	Water meters shall be ordered and purchased through the Public Works Department.

	80
	If construction water will be obtained from the City's Fire Hydrant(s), a Fire Hydrant Use permit Application shall be submitted and approved by the Public Works Department.

	81
	That the developer shall submit a Construction and Demolition Waste Management Plan to the Public Works Department.  The City shall require a final package prior to obtaining final approval to be submitted to ensure 60% diversion rate has been achieved. 

	82
	If the property is within a Special Flood Hazard Area, applicant shall obtain a floodplain development permit and build according to floodplain standards.

	83
	All pre-existing sewer laterals and storm drain lines shall be video inspected to ensure that the lines are clear of any debris and that they are not damaged.

	84
	All landscaping in the Public Right-of-Way shall be subject to review and approval by the Public Works and Community Development Department.

	85
	All pre-existing public improvements adjacent to the project area shall meet current City Standards and ADA standards.

	86
	Sprinkler plans, if necessary, shall be submitted prior to construction materials being brought on site.

	87
	Bicycle racks to accommodate two bicycles shall be designed and installed in accordance with City Standards, with placement to be approved by the Community Development Department.


Prior to Certificate of Occupancy

	88
	Prior to issuance of a certificate of occupancy for each building, all ducts, meters, air conditioning equipment and all other mechanical equipment, whether on the ground, on the structure or elsewhere, shall be screened from public view with materials architecturally compatible with the main structure.  This includes gas and electric meters, electric transformers, and large water piping systems to be completely screened from a standard public viewing height of 6 feet.  All roof-mounted equipment which generates noise, solid particles, odors, etcetera, shall cause the objectionable material or effects to be directed away or shielded from adjoining land designated for residential development. A plan for the treatment of roof top equipment shall be submitted to the Planning Department prior to issuance of a building permit. 

	89
	Any street, alley, sidewalk, curb, or gutter, damaged by the applicant or its agents or employees shall be repaired, prior to final acceptance of tract improvements by the City Council, or sooner, at the discretion of the City Engineer.

	90
	Prior to issuance of a certificate of occupancy, mail receptacles shall be provided as required by the Postmaster of the City of Patterson.

	91
	A “Landscape & Stormwater Treatment Control Maintenance & Access Agreement" shall be required to ensure the maintenance of all landscaping and Stormwater treatment control devices/post-construction BMPs that will be owned and maintained by the project owner onsite.  The agreement will be reviewed and approved by the City Council and recorded at the County Recorder’s Office.

	92
	Project shall be required to stabilize the project for stormwater compliance and work with the City to perform a Final Stormwater inspection and acquire a Notice of Termination for the project.  All construction/temporary BMPs must be removed, and all post-construction BMPs/stormwater treatment controls be in place and properly inspected.

	93
	Final inspection of the sewer and storm drain system shall be by televised inspection device as approved by the City Engineer at applicant’s expense.

	94
	That the owner/applicant shall enter into and record a reciprocal ingress/egress agreement, in furtherance of maintaining access to the drive aisle, in a form acceptable to and approved by the Community Development Department.  

	95
	That the owner/applicant shall submit a drive thru operational plan for review and approval by the Planning and Fire Departments.  Said plan shall provide mechanisms to prevent vehicle backups into the drive aisle and to streamline movement through the drive thru in the event of a backup.

	96
	To facilitate emergency response, exterior doors leading to fire service features or rooms shall be labeled such as ‘ELECTRICAL ROOM’.

	97
	Address numbers, building numbers shall be placed in a position that is plainly legible and visible from the street or road fronting the property. These numbers shall contrast with the background and be illuminated either internally or externally between dusk and dawn daily. Commercial address numbers shall be a minimum of six (6) inch tall Arabic numerals with a minimum stroke width of three quarter (3/4) inch.

	98
	All commercial projects (new, remodel, change of occupancy, addition or new business license inspection) shall install a Knox Key Box if one is not already installed. Key boxes shall be installed and secured in accordance with manufacturer’s specifications and mounted to the right of the main entrance door with the top of box no higher than six (6) feet above finished grade.

	99
	Where required, portable fire extinguishers shall be at least a 2A10BC per 2019 CA Fire Code § 906.


Second:

Commissioner Linares
Motion passed:
5-0 Vote
ROLL CALL:

Commissioner Linares, Commissioner Lopez, Vice Chairman Bendix, Commissioner 




Anderson, Chairman West 

Ayes:


Commissioner Linares, Commissioner Lopez, Vice Chairman Bendix, Commissioner Anderson, Chairman West
Noes:


None
Abstained:

None

Excused:

None

ITEMS FROM STAFF:
City Planner Andrews informed the Commission of the upcoming possible special meeting dates of December  8th or 9th, regarding the Baldwin Ranch North Development Agreement. There will also be a meeting on December 16th, which is the regularly scheduled Planning Commission meeting. He wished everyone a Happy Thanksgiving.
Community Development Director James spoke in regards to the Wayfinding Sign, stating the City Council selected one of the proposals.

ITEMS FROM COMMISSION:
Chairman West stated the school district will be hiring a new superintendent.
Vice Chairman Bendix asked about a pool on the school site.
ADJOURNMENT:  The Planning Commission regular meeting of November 18, 2021, was adjourned by Chairperson West at 7:52 p.m.
_____________________________________

Prepared by Lisa Ochoa, Secretary 
City of Patterson Planning Commission  
�





�





___�








                                                                                                Planning Commission Minutes


November 18, 2021 - Official

