[image: image1.wmf][image: image2.wmf][image: image3.wmf][image: image4.wmf]      
CITY OF PATTERSON
PLANNING COMMISSION MINUTES
FEBRUARY 9, 2023
__________________________________________________________________
The Planning Commission regular meeting of February 9, 2023, was called to order by
Chairperson West at 7:04 p.m.
SHOWN PRESENT (HYBRID MEETING): Shown present: Chairperson West, Vice Chairperson Bendix, Commissioner Linares and Commissioner Lopez. Shown present via Zoom: IT Manager Ford and Deputy City Attorney Josh Varinsky. Also shown present: Community Development Director Stice, Associate Planner Rodriguez and Planning Commission Secretary Melo. Shown excused: City Planner Andrews. Shown absent: Commissioner Anderson.
ROLL CALL:
Chairperson West, Vice Chairperson Bendix, Commissioner Linares, Commissioner Lopez
ITEMS FROM PUBLIC:




None
STATEMENT OF CONFLICT BY COMMISSIONERS:
None
CORRESPONDENCE:




None
CONSENT ITEMS:

Motion to continue Planning Commission meeting minutes of November 17, 2022 due to proposed 

change to condition of approval #94:




Vice Chairperson Bendix

Second:

Commissioner Linares 

Motion passed:
4-0 vote

ROLL CALL:
Chairperson West, Vice Chairperson Bendix, Commissioner Linares, Commissioner Lopez
Ayes:

Chairperson West, Vice Chairperson Bendix, Commissioner Linares, Commissioner Lopez 

Noes:

None

Abstained:
None
Motion to approve Planning Commission workshop minutes of December 7, 2022:




Vice Chairperson Bendix

Second:

Commissioner Linares 

Motion passed:
4-0 vote

ROLL CALL:
Chairperson West, Vice Chairperson Bendix, Commissioner Linares, Commissioner Lopez
Ayes:

Chairperson West, Vice Chairperson Bendix, Commissioner Linares, Commissioner Lopez 

Noes:

None

Abstained:
None
Motion to approve Planning Commission
 meeting minutes of December 15, 2022:




Vice Chairperson Bendix

Second:

Commissioner Lopez
Motion passed:
4-0 vote

ROLL CALL:
Chairperson West, Vice Chairperson Bendix, Commissioner Linares, Commissioner Lopez
Ayes:

Chairperson West, Vice Chairperson Bendix, Commissioner Linares, Commissioner Lopez 

Noes:

None

Abstained:
None
AGENDA ITEMS:
1. Public Hearing:
Architectural & Site Plan Review #22-09 - Oak Harbor Freight, S. 

Rogers Road, APN 021-093-012

An application for an architectural and site plan review to allow an Oak Harbor Freight Lines less than truckload, cross-dock facility to be located on South Rogers Road, approximately 1,800 feet south of Sperry Avenue, APN 021-093-012.  The project would include an approximately 19,000 square foot building with 15,533 square feet allocated to freight dock activities with 53 doors and 3,488 square feet allocated to office space.  The site would also include 32 large trailer parking spaces, 117 “pup” trailer spaces, and 65 passenger vehicle parking spaces for employees and visitors.  The project is anticipated to provide jobs for 24 employees (four office/admin. staff, 16 local drivers, and six line drivers), with 24-hour operation.  The project is located in the General Commercial Zone with a Planned Development overlay, which allows for light industrial uses, such as cross-dock facilities.  Preliminarily, the project has been found to be consistent with the 2012 West Patterson Business Park Environmental Impact Report and Addendum. (THIS AGENDA ITEM WILL BE POSTPONED TO A FUTURE PLANNING COMMISSION MEETING).  
Community Development Director Stice stated that this agenda item will be readvertised for a future Planning Commission meeting.

2. Public Hearing:
Architectural & Site Plan Review #22-08 - Sperry Avenue Self 

Storage, 425 Sperry Avenue, APN 131-017-019, 131-017-020

An application for an architectural and site plan review to allow approximately 59,275 square feet of personal storage space at 425 Sperry Avenue, APN 131-017-019 and -020, an approximately 3.14-acre site.  The project would be constructed in two phases, with the first phase consisting of approximately 41,500 square feet of storage space and a manager’s office generally located along the perimeter of the site.  A second phase would include the remaining square footage, consisting of additional storage space at the center of the site.  The project is located in the HI, Heavy Industrial Zone and is categorically exempt from CEQA under section 15332.

Community Development Director Stice gave a powerpoint presentation and answered questions from the Commission.

Open Public Hearing:
7:24 p.m.
John Anderson, PreCon Solutions, applicant for the project 
Mr. Anderson spoke in favor of the project. He stated that it’s a low traffic use so no impact on traffic. He stated that the self-storage industry has experienced a massive boom across the whole country since the pandemic. He answered questions from the Commission.
Tomas Funez, resident of Patterson
Mr. Funez stated that he lives right across the street on the corner of 4th and B and he’s happy that the project is coming in for a positive improvement to the area. He was hoping for storage units since there would be security and didn’t want houses built there. He thought that a part of the property was supposed to be zoned a park in the past.
Close Public Hearing:
7:30 p.m.
Motion to approve Architectural & Site Plan Review #22-08 with two findings and 91 conditions of approval:



By: Vice Chairperson Bendix
Conditions of Approval
1. The project shall comply with all applicable State and Municipal Codes, including the most recently 

adopted California Building Codes, California Fire Code, and the California Green Code and meet the requirements of the Public Works Department, City Engineer, Building Inspector, Community Development Department and Fire Chief.
2. The applicant shall comply with all conditions of approval and adopted mitigation measures.
3. Development shall occur in substantial conformance with the site plan and elevations as approved by 


the Planning Commission.
4. The applicant shall agree to defend at his/her sole expense any action brought against the City, its 

present or former agents, officers, or employees because of the issuance of said approval, or in any way relating to the implementation thereof, or in the alternative, to relinquish such approval.  The applicant shall reimburse the City, its agents, officers, or employees, for any court costs and attorney's fees which the City, its agents, officers or employees may be required by a court to pay as a result of such action.  The City may, at its sole discretion, participate at its own expense in the defense of any such action but such participation shall not relieve applicant of his/her obligations under this condition.
5. That fencing and gates shall be subject to review and approval. 
6. All planted areas shall be separated from driveways by concrete curbs.
7. Stop signs shall be provided at all project exits and internally as needed to ensure safety and consistent 


with the Traffic Impact Study findings.
8. All on-site utilities shall be underground and all utility fixtures, transformers, switching boxes and other 


installations shall be screened from view.
9. Per Title 24, Section 2-7102 of the State Disabled Access Regulations, parking lots shall provide the 

required number and configuration of handicapped parking spaces.
10. Improvements required for project development shall include street paving, curb, gutter, street lights, 

sidewalks, landscaping, the required utilities, grading and drainage.

11. At the time of Public Improvement Plan review, plans shall be submitted to all applicable public utility 
companies for review. Comments from the utilities regarding required easements, transformer locations, etc. shall be forwarded to Public Works Department for review and approval.
12.
All required public improvements shall be designed and constructed in accordance with the City of Patterson Standard Specifications and Drawings, including any standards updated prior to approval of the improvement plans.
13.
All signage shall be submitted for a sign permit and shall be in accordance with relevant provisions of the Patterson Zoning Ordinance and that any proposed monument sign shall be constructed with design elements and materials reflective of those of the main building.
14.
Setbacks shall be verified by a licensed surveyor.
15.
All trash enclosures must be constructed to comply with the latest Storm Water regulations (not located in close proximity of a drain inlet, have covers, have adequate secondary containment, etc.). Trash enclosures should be sized to comply with commercial recycling requirements.  The project shall install 100 percent full trash capturing devices to comply with Stormwater Regulations and provide the City with a copy of the maintenance plan.  Devices must be adequately maintained and business must sign up with the City’s FOG program to ensure maintenance. All trash enclosure plans must be reviewed and approved by the City’s Planning Department.
16.
The project shall conform to the requirements of AB 936, AB 341, and AB 1826 (Recycling).  Commercial projects shall submit a Construction Waste Management Plan for the City's review/approval.  All businesses generating four cubic yards of waste or more must comply with AB 939 Commercial Recycling requirements.
17.
Plans for off-site public improvements and landscape plans must be submitted to the City Engineer for review and approval.
18.
Project shall comply with all Stormwater Pollution Prevention and Valley Air Pollution Control District regulations, including the City’s Post Construction/LID Standards and the Construction Activities Storm Water General Permit (2009-0009-DWQ Permit.)
19.
That prior to building permit issuance, the applicant shall provide a plan for parking, including ADA facilities.
20.
Project shall be designed to meet Low Impact Development (LID) Standards.  The City of Patterson Post-Construction Stormwater Standards Manual shall be followed for guidance.  Stormwater quality control devices shall be required.
21.
The site grading area exceeds one acre, therefore a State's WDID number and SWPPP submittal shall be required.
22.
On-site and off-site storm water runoff shall be detained and metered into the storm drainage system to the satisfaction of the City Engineer.  
23.
Any storm drain issues at the front of the property adjacent to Poppy Avenue shall be addressed.
24.
Site shall connect to the City's sewer system, if not already connected.
25.
For new water service or existing water service, a Reduced Pressure Backflow prevention apparatus shall be installed.
26.
Frontage improvements shall be installed including sidewalk, curb, gutter, commercial driveway, street lighting, fire hydrants, and an additional lane on Sperry Avenue as outlined in the Sperry Avenue approved cross section.
27.
Moisture barrier shall be installed behind sidewalk.
28.
Landscaping and water service shall have a reduced pressure back flow prevention device.
29.
Landscaping shall be provided along the frontage of the property.  Landscaping plan shall be subject to review and approval by the Public Works and Community Development Departments.
30.
Project shall comply with all applicable stormwater regulations.
31.
All permanent basins shall be designed to meet the post-construction stormwater standards and AB 1881 requirements.  Storm drainage plans shall be engineered and/or developed by a Qualified Stormwater Designer (QSD).  Prior to dedicating any basin/storm drainage facility to the City, they must meet City Standards, stormwater regulations, be set-up with SCADA, and be included in the maintenance district to provide funding for on-going maintenance.  Any temporary basin shall have adequate Best Management Practices (BMPs) and shall be monitored and inspected by a QSP to ensure stormwater compliance.  The temporary basin shall have a monitoring gauge to monitor the levels as well as have an emergency contingency plan to address high levels during the heavy storm season.  Any discharge to the City's storm system is prohibited and requires the City's authorization and lab sampling to ensure water quality meets State requirements.  All costs associated with discharge/sampling are the responsibility of the developer/project owner.  A secured maintenance agreement shall be required to ensure that the basin in monitored, maintained, and completed to satisfy state, local, federal stormwater and FEMA regulations.
32.
Street trees shall be required per City Standards and a street tree deposit posted with the City.  All street trees must be in compliance with the City's approved street tree plan.
33.
All facilities shall be connected to the City's municipal system for water, sewer, and storm and be signed up for services prior to operation.
34.
On-site fire hydrants and mains capable of supplying the required fire flow may be required if any portion of the facility or building protected is in excess of one hundred fifty (150) feet (45 720 mm) from a water supply on a public street, as measured by an approved route around the exterior of the faculty or building.
35.
Fire Department connections shall be within seventy-five feet of a fire hydrant.  
36.
The main electrical service shall be accessible for emergency shut off from the outside of the building. This may be accomplished by providing one main disconnect, a Knox disconnect or shunt trip device. If, out of necessity, there is more than one (1) main service disconnect, these disconnects shall be located in close proximity to each other as approved by the Fire Chief. Exception: Electrical control room with a marked door that is directly accessible from the outside of the building.
37.
An approved automatic fire sprinkler system shall be required.  If the provisions of the California Fire Code are more restrictive, then the more restrictive requirement shall apply.


Prior to Grading

38.
Prior to the approval of grading and public improvement plans, the applicant shall establish a deposit account for plan check and inspection costs, post bonds as appropriate and obtain an encroachment permit as required.
39.
Complete grading and drainage plans shall be submitted to and approved by the City Engineer.
40.
As required by the Public Works Department, the applicant shall deposit with the City, at time of plan check submittal, adequate funds to employ a qualified independent engineering consultant selected by the City to review grading and drainage improvement plans and to inspect the site prior to and during all major site preparation and grading.  A qualified Soils Engineer shall submit tests and reports to certify each parcel as ready for construction prior to starting foundations.
41.
Where the difference in average elevations between adjacent lots is in excess of six inches, slope shall not exceed 2 to 1 grade or a grade found reasonable in the soils report, or a retaining wall shall be required. 
42.
Prior to any site grading or construction, an erosion control plan and program shall be submitted to and approved by the Public Works Department.  Said plan and program shall address specific temporary and permanent erosion control measures associated with the project. 
43.
It is the contractor’s responsibility to use watering, dust fences, or other methods as directed by the City, to control dust throughout the construction operation. The applicant shall use all reasonable efforts to obtain non-potable water for construction or dust control purposes.  This condition shall not be interpreted as prohibiting the use of City water supplies for the irrigation of street lines and landscaping required in common areas.
44.
That the developer shall enter into a Landscape and Stormwater Control Measures (SCM) and Access Agreement with the City, which holds the developer responsible for ongoing maintenance of all private landscaping and stormwater control measures installed on the project.  
45.
All grading construction debris materials shall be removed and disposed into an approved dump site prior to any excavation or fill operations and/or as directed by the Public Works Director.
46.
The applicant or his/her agents or employees shall be responsible for removal and clean-up of any spill on public streets during his/her entire grading operations.
47.
Lots shall drain in such a manner that there will be no undrained depressions.  The design of all such drains shall be subject to the review and approval of the City Engineer.
48.
An engineering cost estimate shall be submitted with the grading and improvement plans for public improvements.  The applicant's engineer shall sign and stamp the calculation and cost estimates prior to issuance of building permits.
49.
Prior to issuance of the grading permit, final right-of-way width and routes for drainage channels, pipelines, and service roads needed shall be established.
50.
Measures to control erosion during construction shall be incorporated into the grading plans and shall be subject to review and approval by the City Engineer.
51.
Prior to issuance of a grading permit, the applicant shall submit a soils report, prepared by a registered geologist or qualified civil engineer, concerning soil conditions for grading, excavations, slope stabilization and revegetation, and footing and foundation construction.
52.
The applicant shall obtain a grading permit for on-site excavation and fill prior to construction.
53.
Prior to concrete pour inspection, compaction tests are required for all footings.
54.
The project shall obtain an Industrial Stormwater Permit.
55.
Construction shall be limited to between the hours of 7:00 a.m. and 6:00 p.m. on non-holiday weekdays, and on Saturdays to between the hours 8:00 a.m. and 6:00 p.m.; that additional hours may be permitted at the discretion of the Public Works Director.  Construction activities may be allowed at any time on the interior of buildings once they are entirely enclosed, in conformance with the City’s noise ordinance.  
56.
The applicant shall be responsible during construction for cleaning city streets, curbs, gutters and sidewalks of dirt tracked from the subject site.  The flushing of dirt and debris to storm drain or sanitary sewer facilities shall not be permitted.  The cleaning shall be done after each day's work or as directed by the Director of Public Works or the Planning Department.
57.
Electrical conduit shall have a separate ground wire installed.
58.
For landscape and irrigation within the public ROW, a deposit shall be required to cover the installation of irrigation, landscaping, and plant materials (relocation) based upon the estimate of costs to be paid for and provided by the applicant. Project landscape plans must comply with AB1881 (Water Use Efficiency) requirements. Once the landscaping is complete an audit must be completed and the certificate sent into the City.
59.
Prior to building permit issuance, the applicant shall submit to the City for review and approval a grading and drainage plan in compliance with all applicable regulations of the City of Patterson.
60.
The applicant shall pay all applicable fees due the City and other Special Districts providing services to the site.
61.
"The applicant shall submit a mitigation mitigation plan for review and approval by the City and the San Joaquin Valley Air Pollution Control District (SJVAPCD) for construction-related emissions prior to construction. Such a plan shall include provisions for compliance with District Rule VIII and shall include at least the following requirements:
a. All disturbed areas, including storage piles, which are not being actively utilized for construction purposes, shall be effectively stabilized of dust emissions using water, chemical stabilizer/suppressant, or vegetative ground cover. 
b. All on-site unpaved roads and off-site unpaved access roads shall be effectively stabilized of dust emissions using water or chemical stabilizer/suppressant.
 c. All land clearing, grubbing, scraping, excavation, land leveling, grading, cut & fill, and demolition activities shall be effectively controlled of fugitive dust emissions utilizing application of water or by presoaking.
 d. With the demolition of buildings up to six stories in height, all exterior surfaces of the building shall be wetted during demolition.
 e. When materials are transported off-site, all material shall be covered, effectively wetted to limit visible dust emissions, or at least six inches of freeboard space from the top of the container shall be maintained.
 f. All operations shall limit or expeditiously remove the accumulation of mud or dirt from adjacent public streets if and as needed when operations are occurring. (The use of dry rotary brushes is expressly prohibited except where preceded or accompanied by sufficient wetting to limit the visible dust emissions.) (Use of blower devices is expressly forbidden.) 
g. Following the addition of materials to, or the removal of materials from, the surface of outdoor storage piles, said piles shall be effectively stabilized of fugitive dust emissions utilizing sufficient water or chemical stabilizer/suppressant. 


h. Limit traffic speeds on unpaved roads to 15 mph; and                                               
ii. Install sandbags or other erosion control measures to prevent silt runoff to public roadways from sites with a slope greater than one percent.

62.
Prior to issuance of a building permit, the applicant shall submit a Final Landscape and Irrigation Plan in compliance with AB 1881.  The landscaping plan shall be consistent with City Standards and shall include at least two of the following low impact development methods:


• bioretention 


• cisterns and rain barrels 


• green roofs


• roof leader disconnection 

• permeable and porous paving (must be no less than 20% of walking or patio surface per Section 18.78.040) 


• vegetative swell and filter strips 


• volume retention"
63.
Prior to issuance of a building permit, sufficient water pressure and capacity to serve the project area shall be assured.  Water mains shall be installed on-site to provide adequate flow and reliability as required by the Public Works Director, City Engineer, and Fire Chief.
64.
"Design of the proposed project facilities shall include provisions to minimize water requirements, including the use of the following, to the extent deemed practical by the City:                                                                                                                         

a. Use of low-flow fixtures, including shower heads and toilets as per the Uniform Building Code.

b. Use of drought-tolerant, native landscaping.

65.
Separate water meters shall be installed for landscaping and indoor water services.

66.
The project shall comply with City of Patterson Best Management Practices as defined in the City’s latest Urban Water Management Plan, California Urban Water Conservation Council BMPs, AB 1881, and mandatory water conservation measures defined in the State of California Green Building Code.

67.
Future drainage system discharges shall comply with applicable state and federal pollutant discharge requirements.

68.
Appropriate storm and sewer interceptors shall be included to the satisfaction of the City Engineer and Public Works Director.  Use of a grease/oil interceptor shall be required to capture metal debris.

69.
A Stormwater Pollution Prevention Plan (SWPPP) shall be completed and submitted to the City prior to any construction activities and must address grading, drainage, erosion control, and Post Construction Best Management Practices (BMPs).  In compliance with the City’s Post-Construction Stormwater Standards Manual, an Operations and Maintenance Plan also must be submitted. A SWPPP Inspection Deposit must be posted with the City to cover all SWPPP Inspections for the duration of the project.  

70.
If using truncated domes, City prefers "Set in Place" domes.

71.
The project shall participate in Maintenance Community Facility District (CFD) to help pay for maintenance of public improvements.

72.
Domestic, Landscape, and Fire Systems water meters shall be ordered and purchased through the Public Works Department and installed to city standards.

73.
If construction water will be obtained from the City's Fire Hydrant(s), a Fire Hydrant Use permit Application shall be submitted and approved by the Public Works Department.

74.
If the property is within a Special Flood Hazard Area, applicant shall obtain a floodplain development permit and build according to floodplain standards.

75.
All pre-existing sewer laterals and storm drain lines shall be video inspected to ensure that the lines are clear of any debris and that they are not damaged.

76.
All landscaping in the Public Right-of-Way shall be subject to review and approval by the Public Works and Community Development Department.

77.
All pre-existing public improvements adjacent to the project area shall meet the ADA standards.

78.
That the project shall submit a Construction and Demolition Waste Management Plan to the Public Works Department.  

79.
A backflow prevention device shall be required on all water services and shall be installed per City Standards.
80.
Prior to issuance of a certificate of occupancy for each building, all ducts, meters, air conditioning equipment and all other mechanical equipment, whether on the ground, on the structure or elsewhere, shall be screened from public view with materials architecturally compatible with the main structure.  This includes gas and electric meters, electric transformers, and large water piping systems to be completely screened from a standard public viewing height of 6 feet.  All roof-mounted equipment which generates noise, solid particles, odors, etcetera, shall cause the objectionable material or effects to be directed away or shielded from adjoining land designated for residential development. A plan for the treatment of roof top equipment shall be submitted to the Planning Department prior to issuance of a building permit. 
81.
Prior to issuance of a certificate of occupancy, mail receptacles shall be provided as required by the Postmaster of the City of Patterson.
82.
A “Landscape Maintenance Agreement” shall be required to ensure the maintenance of all landscaping that will be owned and maintained by the project owner onsite.  The agreement will be reviewed and approved by the City Council and recorded at the County Recorder’s Office.
83.
Final inspection of the sewer and storm drain system shall be by televised inspection device as approved by the City Engineer at applicant’s expense.
84.
That adequate access shall be provided for garbage pick up vehicles to the satisfaction of the Public Works Director.
85.
To facilitate emergency response, exterior doors leading to fire service features or rooms shall be labeled as ‘ROOF ACCESS’, ‘ELECTRICAL ROOM’, FIRE PUMP ROOM’, ‘FIRE ALARM CONTROL PANEL’, ‘FACP’ ‘FIRE RISER’ or similar approved wording. Letters shall be a minimum of four (4) inch tall with a minimum stroke width of half (1/2) inch.
86.
Fire Department approved key boxes (Knox Key Box) shall be installed and secured in accordance with manufacturer’s specifications and mounted to the right of the main entrance door (office or at gate) with the top of box no higher than 6' above finished grade.  Knox key boxes may be ordered at www.knoxbox.com.  Manual sliding or electrically operated gates that cross the fire access lanes shall be equipped with a Knox Key Switch, used by the Patterson Fire Department.  A dual keyed switch to accommodate law enforcement may be required. 
87.
When manually operated gates cross required fire access lanes, or prevent access to building, a Knox padlock or Knox Key Box shall be installed at access gate. Electrically operated gates that cross fire access lanes shall be required to be equipped with a Knox Key Switch used by the Patterson Fire Department. 
88.
Knox locking caps for Fire Department Connections shall be required for all new construction. 
89.
All commercial fire alarm systems shall be UL listed and to be maintained throughout the life of the alarmed building.
90.
New and existing buildings shall have approved address numbers, building numbers or other approved building identification placed in a position that is plainly legible and visible from the street or road fronting the property. These numbers shall contrast with the background and be illuminated either internally or externally between dusk and dawn daily. Where required by the fire code official, address numbers shall be provided in additional locations to facilitate emergency response. Commercial address numbers shall be a minimum of six (6) inch tall Arabic numerals with a minimum stroke width of three quarter (3/4) inch. Larger numbers, suite and rear door identification, etc. may be required by Fire Code Official to facilitate emergency response. 
91.
Fire extinguishers within building shall be at least a 2A10BC, as required by the Fire Department.
Second:

Commissioner Linares
Motion passed:
4-0 vote

ROLL CALL:
Chairperson West, Vice Chairperson Bendix, Commissioner Linares, Commissioner Lopez
Ayes:

Chairperson West, Vice Chairperson Bendix, Commissioner Linares, Commissioner Lopez
Noes:

None

Abstained:
None

Chairperson West asked staff to look at the area south of Sperry Avenue, across the street from the future project (Sperry Avenue Self Storage) to see what the uses are and if they’re zoned properly. Associate Planner Rodriguez stated that the zoning is General Commercial but some of the current uses are “grandfathered in” since they’ve been there for many years. She also stated that a new project in the area would have to conform to the current zoning.  Chairperson West asked staff to do research on the area and come back with a report. 
3. Public Hearing:
Tentative Parcel Map #22-03 - Keystone Pacific Business Park LLC

APN 021-085-013

A public hearing to consider a tentative parcel map to divide an existing parcel, APN 021-085-013, located on the north side of Keystone Pacific Parkway, approximately 1,200 feet northwest of the intersection with Park Center Dr.  The site is currently 14.47 acres. Approval divides the site into three parcels, measuring approximately 5.45 acres 8 acres and 1.02 acres, and a future parkway located along the site’s eastern boundary.   

Community Development Director Stice gave a powerpoint presentation and answered questions from the Commission.
He stated that there has been discussion between city staff and the applicant involving parcel C which is the future roadway. He stated that conditions of approval 9-11 apply to parcel C.  He requested a map amendment to change the map label from future parkway to future public roadway.
Community Development Director Stice read into the record the City’s position on parcel C as discussed with the applicant. 
“That the City has concluded our discussion on the applicant’s brought forth by the applicant and the City agrees that the current wording of the conditions pertaining to parcel C clarify that there are no expectations and that parcel C be offered to the City without due compensation nor that any roadway be built during any specific point in time. Such timing of construction and compensation would be based upon future plans for development within the Zacharias Master Plan Area as well as market values to be determined by an independent real estate appraiser, respectively.” 

He stated that there was a concern that the applicant would be required to build the roadway at some point in time, but it would be dependent upon future development, not this development. The applicant would be compensated for the property through the course of private development. 
Open Public Hearing:
7:43 p.m.
Keith Schneider, Keystone Corporation

Mr. Schneider wanted to request approval of Tentative Parcel Map 22-03 from the Commission. He stated that the existing business, High Pressure Laminate (HPL) wanted to expand their project into a 128,000 square foot brand new state of the art facility. He hoped that the Planning Commission would have the architectural and site plan review brought to them in March. They’re expanding their business to build sophisticated lockers for Amazon and UPS. They’d like to build the facility quickly. He asked the commissioners to visit the HPL facility at 525 Baldwin Road to tour the facility. He stated that he’d love to grow the manufacturing area in the business park.
Close Public Hearing:
7:46 p.m.
Motion to approve Tentative Parcel Map #22-03 with seven findings and 15 conditions of approval:




By: Vice Chairperson Bendix
Conditions of Approval
1. That the final map submitted for checking and recordation shall be prepared by a licensed civil engineer 

or land surveyor, each licensed to practice in the state of California, and shall meet all of the specifications of the state Subdivision Map Act.
2. That the parcels shall comply with the requirements of the zoning classification for the West Patterson 

Light Industrial (LI) District.
3. That the approval shall comply with all applicable state and municipal codes and meet the requirements 

of the City Engineer.
4. That easements of record shall remain in effect and shall be recorded on the final map.
5. Public utility easements shall be granted as required by the appropriate companies and to the 


satisfaction of the Public Works Director and City Engineer.
6. The applicant shall file one copy of the Tentative Map to be used for assigning addresses.
7. That no non-conforming conditions of zoning may be created by this approval.
8. Development of the area shall be in accordance with the West Patterson Business Park Master 

Development Plan, as modified by these conditions and as may be modified by a development agreement between the City and the developer.  In the event of a conflict between these conditions and the terms of a potential development agreement, shall control and these conditions and will be deemed modified.
9. Parcel C shall be offered for dedication to the City of Patterson in conjunction with minimum City 

roadway standards, the recordation of the Final Map, and subject to review and approval by the City Engineer.
10. Parcel C shall be designed and constructed/built in its entirety as a City of Patterson industrial roadway, 
and in so doing avoid the ramifications and unintended consequences associated with a piecemeal construction alternative.
11. The Parcel C offer of dedication shall only be accepted by the City of Patterson subsequent to the City 

Engineer’s and Public Works Director’s determinations that future roadway improvements have been constructed/built to the City Standards and a Notice of Completion in conjunction with an agreement to release any outstanding surety bonds has been authorized by the City Council.
12. That prior to recordation, the successor in interest shall determine the method by which “right of way” 

along the southern edge of the subject site shall be identified and that the same method shall be utilized for the balance of the southern line, subject to the review and approval of the City Engineer.  New driveways to each parcel shall be required at the time of development and in conjunction with submittal of a City of Patterson Encroachment Permit.
13. The site plan for Parcel A shall include the provision of emergency access through the site from the 


Keystone Pacific Parkway.
14. That, per Patterson Municipal Code Section 16.20.010, failure to record a final map within twenty-four 
months of the date of approval or conditional approval of the tentative map shall terminate all proceedings, unless otherwise provided for under the Subdivision Map Act; provided, however, that upon application of the subdivider in writing, an extension not exceeding one year may be granted by the planning commission, except as provided under subsections (B) and (C) of this section. In the event the commission denies the subdivider’s application for extension, the subdivider may appeal to the city council. Where proceedings have terminated because of failure to file a final map or failure to receive extension by the planning commission or city council, a new tentative map shall be filed in accordance with the provisions of this chapter before a final map may thereafter be recorded or any lot sold.
15.
That the applicant shall indemnify, defend and hold harmless the City of Patterson, its agents, officers and employees from any and all claims, actions, or proceedings against the City of Patterson, its agents, officers and employees to attack, set aside, void, or annul any approval by the City of Patterson and its advisory agency, appeal board or legislative body concerning the project, which action is brought within the time period provided for by the Government Code of the State of California.  The City of Patterson shall promptly notify the applicant of any claim, action or proceeding and shall cooperate fully in the defense.  If the City fails to do so, the applicant shall not thereafter be responsible to defend, indemnify or hold the City harmless.

Second:

Commissioner Linares
Motion passed:
4-0 vote
ROLL CALL:
Chairperson West, Vice Chairperson Bendix, Commissioner Linares, Commissioner Lopez
Ayes:

Chairperson West, Vice Chairperson Bendix, Commissioner Linares, Commissioner Lopez

Noes:

None

Abstained:
None

ITEMS FROM STAFF: 
· Discussion with City Attorney regarding elimination of teleconferencing participation by members of the Planning Commission 

Deputy City Attorney Josh Varinsky went over teleconference requirements such as Zoom with state of emergency coming to an end. He stated that new rules gives them 2-4 meetings per year that they can participate remotely as long as there’s a quorum in person but there’s specific set of scenarios that allow them to participate remotely via Zoom. He stated that the attorney’s office will get something to the commission in writing so they know how to report their attendance. These are requirements for commissions only and not the public.
ITEMS FROM COMMISSION: 

Vice Chairperson Bendix asked if we have a publication regarding ADUs in the City. He couldn’t find anything specific in the municipal code. The commission and staff discussed new state laws regarding setbacks. Community Development Director Stice stated that there’s a state pamphlet regarding ADUs that we could get to the Commission. Associate Planner Rodriguez has a checklist that she can send to the Commission on Monday.
Vice Chairperson Bendix had a question regarding location for Oak Harbor and stated that it will add to the chaos at Sperry Avenue and I-5 and asked if it met CEQA requirements. He also asked when the state will work on the interchange. Community Development Director Stice stated that he didn’t have a date for that.
ADJOURNMENT:  The Planning Commission regular meeting of February 9, 2023, was adjourned by Chairperson West at 8:05 p.m.

______________________________________________________________

Prepared by Denise Melo, Secretary of City of Patterson Planning Commission  
�





�





�





___�








Planning Commission Minutes
February 9, 2023 - Official

